- Applicant Details

| Item | Requirement | Applicant Response |
| --- | --- | --- |
| Organisation name | Legal name of Entity |  |
| Registration number | Company/ NPO registration |  |
| Organisation type | (SMME / NGO / Start‑up / CBO) |  |
| Contact person & details | Name, Role, email, Phone |  |
| Key Personnel | Role, qualification and experience of key personnel for the project implementation (provide Cv’s) |  |
| Proposal Submission | Confirm that you have submitted a proposal that responds to the Innovation Call |  |

Provide details of relevant entity experience, including previous projects or implementations in similar contexts in informal settlements or comparable constrained environments.

- Technical Feasibility and Scalability (30 %)

Applicants must provide a solution overview summarising the proposed off-grid solar public lighting solution. The response should describe the technical design, commercial readiness, and scalability of the solution, and demonstrate its suitability for deployment at scale in informal settlement environments.

Maximum length: 300 words.

| Assessment Area | Specification Requirement | Applicant Response |
| --- | --- | --- |
| Commercial Readiness | Confirmation that the solution is commercially ready and deployable |  |
| Standards Compliance | Compliance with SANS 10098 (Public Lighting Standard), where applicable |  |
| Lighting Performance | Indicative luminous output (±600 lumens) |  |
| Energy Performance | Power consumption (±2.5W) and lighting autonomy (11–15 hours per full charge) |  |
| Battery & Durability | Battery life (1,500–2,000 cycles) and minimum weatherproof rating (IP66) |  |
| Installation Method | Installation approach that does not require heavy machinery or vehicles; consideration to structure and weatherproofing if affixing to structures. |  |
| Scalability | Ability to scale across Marikana and replicate in similar informal settlement contexts |  |

- Appropriateness for informal settlement environments (30%)

| Assessment Area | Specific requirement | Applicant response |
| --- | --- | --- |
| Context Suitability | Suitability for constrained small pathways, and informal settlement environments |  |
| Safety Design | Safety features including non-conductive components and fire risk mitigation Design minimises opportunities for use in illegal connections. |  |
| Theft and Vandalism | Measures to prevent theft, tampering, and vandalism |  |
| Adaptability | Ability to adapt the solution to other informal settlement contexts |  |

- Community involvement and training approach (20%)

Noting that local community liaison organisation will support stakeholder engagement and community entry, applicants must describe their approach to community involvement and training that covers:

- Community engagement processes to gain project support

- Buy-in from individual property owners and written agreements if necessary

- Training plan that outlines content, with a specific focus on basic maintenance; duration and outcomes;

- Proposed process for community-led fault identification and reporting, if applicable

Maximum length: 500 words.

Robustness of post-implementation support model (20%)

Applicants must provide a detailed post-implementation support plan outlining their approach to maintenance, fault response, and system reliability. The response should clearly describe fault reporting and response times, routine and corrective maintenance processes, as well as warranty and component replacement arrangements.

Maximum length: 500 words.

Applicant Name: ______________________

Applicant Signature: ______________________

Date: ____________________